{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["FV KLIMA CZK 21-07-15"],"not_rendered":{"images":1},"read":"whole","date_system":"1900"}

{"sheet":"FV KLIMA CZK 21-07-15","index":0,"n_rows":119,"n_cols":9,"rows_kept":119,"merged":[[0,1,0,4],[0,6,2,8],[1,1,1,4],[2,1,2,4]]}
[null,"FV - Plast, a.s. Čelákovice, odštěpný závod,  Kozovazská 1049/3, 250 88  Čelákovice",{"$nulls":3},"CENÍK","FV KLIMA"]
[null," www.fv-plast.cz     fv-plast@fv-plast.cz     objednavky@fv-plast.cz"]
[null,"( + 420 326 706 711, fax: + 420 326 706 721"]
[]
[{"$nulls":8},"Ceny jsou uvedeny v Kč bez DPH "]
[]
[{"$nulls":4},"hmotnost","rozměry balení","balení","objem","prodej Kč"]
["Nový kód","Kód","Název KATALOG CZ","MJ","[kg]","[m]","[MJ]","[dm3/MJ]","dopor."]
["AA960112125","AA960112125","KLM FV upínací lišta Penta pro 16x2, l=1 m","ks",0.181,"1,05x0,41x0,19","100 ks",0.8179500000000001,{"v":50,"d":"50 Kč"}]
["AA960112127","AA960112127","KLM FV upínací lišta pro tr. 8x1, R25, l=0,8 m","ks",0.068,"0,85x0,29x0,23","200 ks",0.283475,{"v":56,"d":"56 Kč"}]
["AA960112128","AA960112128","KLM FV držák oblouku pro lištu 8x1, R25","ks",{"v":0.00763,"d":"0.008"},"0,30x0,4x0,09","100 ks",0.108,{"v":16,"d":"16 Kč"}]
["AA960116231","AA960116231","KLM FV rozdělovač Push, 0,6-2,4 l/m, 1 okr","ks",{"v":1.4000000000000001,"d":"1.400"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":1890,"d":"1,890 Kč"}]
["AA960116232","AA960116232","KLM FV rozdělovač Push, 0,6-2,4 l/m, 2 okr","ks",{"v":1.9000000000000001,"d":"1.900"},"0,357x0,107x0,15","1 ks",5.72985,{"v":2295,"d":"2,295 Kč"}]
["AA960116233","AA960116233","KLM FV rozdělovač Push, 0,6-2,4 l/m, 3 okr","ks",{"v":2.3000000000000003,"d":"2.300"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":2926,"d":"2,926 Kč"}]
["AA960116234","AA960116234","KLM FV rozdělovač Push, 0,6-2,4 l/m, 4 okr","ks",{"v":2.8000000000000003,"d":"2.800"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":3559,"d":"3,559 Kč"}]
["AA960116235","AA960116235","KLM FV rozdělovač Push, 0,6-2,4 l/m, 5 okr","ks",{"v":3.3000000000000003,"d":"3.300"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":4192,"d":"4,192 Kč"}]
["AA960116236","AA960116236","KLM FV rozdělovač Push, 0,6-2,4 l/m, 6 okr","ks",{"v":3.7,"d":"3.700"},"0,522x0,107x0,15","1 ks",8.3781,{"v":4824,"d":"4,824 Kč"}]
["AA960116237","AA960116237","KLM FV rozdělovač Push, 0,6-2,4 l/m, 7 okr","ks",{"v":4.2,"d":"4.200"},"0,522x0,107x0,15","1 ks",8.3781,{"v":5456,"d":"5,456 Kč"}]
["AA960116238","AA960116238","KLM FV rozdělovač Push, 0,6-2,4 l/m, 8 okr","ks",{"v":4.7,"d":"4.700"},"0,522x0,107x0,15","1 ks",8.3781,{"v":6089,"d":"6,089 Kč"}]
["AA960116239","AA960116239","KLM FV rozdělovač Push, 0,6-2,4 l/m, 9 okr","ks",{"v":5.2,"d":"5.200"},"0,687x0,107x0,15","1 ks",11.02635,{"v":6722,"d":"6,722 Kč"}]
["AA960116240","AA960116240","KLM FV rozdělovač Push, 0,6-2,4 l/m, 10 okr","ks",{"v":5.6000000000000005,"d":"5.600"},"0,687x0,107x0,15","1 ks",11.02635,{"v":7335,"d":"7,335 Kč"}]
["AA960116241","AA960116241","KLM FV rozdělovač Push, 0,6-2,4 l/m, 11 okr","ks",{"v":6.1000000000000005,"d":"6.100"},"0,687x0,107x0,15","1 ks",11.02635,{"v":7987,"d":"7,987 Kč"}]
["AA960116242","AA960116242","KLM FV rozdělovač Push, 0,6-2,4 l/m, 12 okr","ks",{"v":6.6000000000000005,"d":"6.600"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":8620,"d":"8,620 Kč"}]
["AA960116243","AA960116243","KLM FV rozdělovač Push, 0,6-2,4 l/m, 13 okr","ks",{"v":7,"d":"7.000"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":9250,"d":"9,250 Kč"}]
["AA960116244","AA960116244","KLM FV rozdělovač Push, 0,6-2,4 l/m, 14 okr","ks",{"v":7.5,"d":"7.500"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":10290,"d":"10,290 Kč"}]
["AA960116245","AA960116245","KLM FV rozdělovač Push, 0,6-2,4 l/m, 15 okr","ks",{"v":8,"d":"8.000"},"0,952x0,107x0,15","1 ks",15.279599999999999,{"v":10950,"d":"10,950 Kč"}]
["AA960116246","AA960116246","KLM FV rozdělovač Push, 0,6-2,4 l/m, 16 okr","ks",{"v":8.5,"d":"8.500"},"1,012x0,107x0,15","1 ks",16.2426,{"v":11610,"d":"11,610 Kč"}]
["AA960116247","AA960116247","KLM FV rozdělovač Push, 0,6-2,4 l/m, 17 okr","ks",{"v":8.9,"d":"8.900"},"1,07x0,107x0,15","1 ks",17.1735,{"v":12270,"d":"12,270 Kč"}]
["AA960116248","AA960116248","KLM FV rozdělovač Push, 0,6-2,4 l/m, 18 okr","ks",{"v":9.4,"d":"9.400"},"1,13x0,107x0,15","1 ks",18.136499999999998,{"v":12930,"d":"12,930 Kč"}]
["AA960116249","AA960116249","KLM FV rozdělovač Push, 0,6-2,4 l/m, 19 okr","ks",{"v":9.9,"d":"9.900"},"1,19x0,107x0,15","1 ks",19.0995,{"v":13590,"d":"13,590 Kč"}]
["AA960116250","AA960116250","KLM FV rozdělovač Push, 0,6-2,4 l/m, 20 okr","ks",{"v":10.3,"d":"10.300"},"1,25x0,107x0,15","1 ks",20.0625,{"v":14250,"d":"14,250 Kč"}]
["AA960116331","AA960116331","KLM FV rozdělovač Push, 1-4 l/m, 1 okr","ks",{"v":1.4000000000000001,"d":"1.400"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":2998,"d":"2,998 Kč"}]
["AA960116332","AA960116332","KLM FV rozdělovač Push, 1-4 l/m, 2 okr","ks",{"v":1.9000000000000001,"d":"1.900"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":3550,"d":"3,550 Kč"}]
["AA960116333","AA960116333","KLM FV rozdělovač Push, 1-4 l/m, 3 okr","ks",{"v":2.3000000000000003,"d":"2.300"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":4850,"d":"4,850 Kč"}]
["AA960116334","AA960116334","KLM FV rozdělovač Push, 1-4 l/m, 4 okr","ks",{"v":2.8000000000000003,"d":"2.800"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":5950,"d":"5,950 Kč"}]
["AA960116335","AA960116335","KLM FV rozdělovač Push, 1-4 l/m, 5 okr","ks",{"v":3.3000000000000003,"d":"3.300"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":7200,"d":"7,200 Kč"}]
["AA960116336","AA960116336","KLM FV rozdělovač Push, 1-4 l/m, 6 okr","ks",{"v":3.7,"d":"3.700"},"0,522x0,107x0,15","1 ks",8.3781,{"v":8300,"d":"8,300 Kč"}]
["AA960116337","AA960116337","KLM FV rozdělovač Push, 1-4 l/m, 7 okr","ks",{"v":4.2,"d":"4.200"},"0,522x0,107x0,15","1 ks",8.3781,{"v":9450,"d":"9,450 Kč"}]
["AA960116338","AA960116338","KLM FV rozdělovač Push, 1-4 l/m, 8 okr","ks",{"v":4.7,"d":"4.700"},"0,522x0,107x0,15","1 ks",8.3781,{"v":10560,"d":"10,560 Kč"}]
["AA960116339","AA960116339","KLM FV rozdělovač Push, 1-4 l/m, 9 okr","ks",{"v":5.2,"d":"5.200"},"0,687x0,107x0,15","1 ks",11.02635,{"v":11910,"d":"11,910 Kč"}]
["AA960116340","AA960116340","KLM FV rozdělovač Push, 1-4 l/m, 10 okr","ks",{"v":5.6000000000000005,"d":"5.600"},"0,687x0,107x0,15","1 ks",11.02635,{"v":13100,"d":"13,100 Kč"}]
["AA960116341","AA960116341","KLM FV rozdělovač Push, 1-4 l/m, 11 okr","ks",{"v":6.1000000000000005,"d":"6.100"},"0,687x0,107x0,15","1 ks",11.02635,{"v":14200,"d":"14,200 Kč"}]
["AA960116342","AA960116342","KLM FV rozdělovač Push, 1-4 l/m, 12 okr","ks",{"v":6.6000000000000005,"d":"6.600"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":15250,"d":"15,250 Kč"}]
["AA960116343","AA960116343","KLM FV rozdělovač Push, 1-4 l/m, 13 okr","ks",{"v":7,"d":"7.000"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":16350,"d":"16,350 Kč"}]
["AA960116344","AA960116344","KLM FV rozdělovač Push, 1-4 l/m, 14 okr","ks",{"v":7.5,"d":"7.500"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":17500,"d":"17,500 Kč"}]
["AA960116345","AA960116345","KLM FV rozdělovač Push, 1-4 l/m, 15 okr","ks",{"v":8,"d":"8.000"},"0,952x0,107x0,15","1 ks",15.279599999999999,{"v":18610,"d":"18,610 Kč"}]
["AA960116346","AA960116346","KLM FV rozdělovač Push, 1-4 l/m, 16 okr","ks",{"v":8.5,"d":"8.500"},"1,012x0,107x0,15","1 ks",16.2426,{"v":19720,"d":"19,720 Kč"}]
["AA960116347","AA960116347","KLM FV rozdělovač Push, 1-4 l/m, 17 okr","ks",{"v":8.9,"d":"8.900"},"1,07x0,107x0,15","1 ks",17.1735,{"v":20830,"d":"20,830 Kč"}]
["AA960116348","AA960116348","KLM FV rozdělovač Push, 1-4 l/m, 18 okr","ks",{"v":9.4,"d":"9.400"},"1,13x0,107x0,15","1 ks",18.136499999999998,{"v":21940,"d":"21,940 Kč"}]
["AA960116349","AA960116349","KLM FV rozdělovač Push, 1-4 l/m, 19 okr","ks",{"v":9.9,"d":"9.900"},"1,19x0,107x0,15","1 ks",19.0995,{"v":23050,"d":"23,050 Kč"}]
["AA960116350","AA960116350","KLM FV rozdělovač Push, 1-4 l/m, 20 okr","ks",{"v":10.3,"d":"10.300"},"1,25x0,107x0,15","1 ks",20.0625,{"v":24160,"d":"24,160 Kč"}]
["AA960116431","AA960116431","KLM FV rozdělovač Push, 2-8 l/m, 1 okr","ks",{"v":1.4000000000000001,"d":"1.400"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":2998,"d":"2,998 Kč"}]
["AA960116432","AA960116432","KLM FV rozdělovač Push, 2-8 l/m, 2 okr","ks",{"v":1.9000000000000001,"d":"1.900"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":3550,"d":"3,550 Kč"}]
["AA960116433","AA960116433","KLM FV rozdělovač Push, 2-8 l/m, 3 okr","ks",{"v":2.3,"d":"2.300"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":4850,"d":"4,850 Kč"}]
["AA960116434","AA960116434","KLM FV rozdělovač Push, 2-8 l/m, 4 okr","ks",{"v":2.8000000000000003,"d":"2.800"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":5950,"d":"5,950 Kč"}]
["AA960116435","AA960116435","KLM FV rozdělovač Push, 2-8 l/m, 5 okr","ks",{"v":3.3000000000000003,"d":"3.300"},"0,357x0,107x0,15","1 ks",5.729849999999999,{"v":7200,"d":"7,200 Kč"}]
["AA960116436","AA960116436","KLM FV rozdělovač Push, 2-8 l/m, 6 okr","ks",{"v":3.7,"d":"3.700"},"0,522x0,107x0,15","1 ks",8.3781,{"v":8300,"d":"8,300 Kč"}]
["AA960116437","AA960116437","KLM FV rozdělovač Push, 2-8 l/m, 7 okr","ks",{"v":4.2,"d":"4.200"},"0,522x0,107x0,15","1 ks",8.3781,{"v":9450,"d":"9,450 Kč"}]
["AA960116438","AA960116438","KLM FV rozdělovač Push, 2-8 l/m, 8 okr","ks",{"v":4.7,"d":"4.700"},"0,522x0,107x0,15","1 ks",8.3781,{"v":10560,"d":"10,560 Kč"}]
["AA960116439","AA960116439","KLM FV rozdělovač Push, 2-8 l/m, 9 okr","ks",{"v":5.2,"d":"5.200"},"0,687x0,107x0,15","1 ks",11.02635,{"v":11910,"d":"11,910 Kč"}]
["AA960116440","AA960116440","KLM FV rozdělovač Push, 2-8 l/m, 10 okr","ks",{"v":5.6000000000000005,"d":"5.600"},"0,687x0,107x0,15","1 ks",11.02635,{"v":13100,"d":"13,100 Kč"}]
["AA960116441","AA960116441","KLM FV rozdělovač Push, 2-8 l/m, 11 okr","ks",{"v":6.1000000000000005,"d":"6.100"},"0,687x0,107x0,15","1 ks",11.02635,{"v":14200,"d":"14,200 Kč"}]
["AA960116442","AA960116442","KLM FV rozdělovač Push, 2-8 l/m, 12 okr","ks",{"v":6.6000000000000005,"d":"6.600"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":15250,"d":"15,250 Kč"}]
["AA960116443","AA960116443","KLM FV rozdělovač Push, 2-8 l/m, 13 okr","ks",{"v":7,"d":"7.000"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":16350,"d":"16,350 Kč"}]
["AA960116444","AA960116444","KLM FV rozdělovač Push, 2-8 l/m, 14 okr","ks",{"v":7.5,"d":"7.500"},"0,852x0,107x0,15","1 ks",13.674599999999998,{"v":17500,"d":"17,500 Kč"}]
["AA960116445","AA960116445","KLM FV rozdělovač Push, 2-8 l/m, 15 okr","ks",{"v":8,"d":"8.000"},"0,952x0,107x0,15","1 ks",15.279599999999999,{"v":18610,"d":"18,610 Kč"}]
["AA960116446","AA960116446","KLM FV rozdělovač Push, 2-8 l/m, 16 okr","ks",{"v":8.5,"d":"8.500"},"1,012x0,107x0,15","1 ks",16.2426,{"v":19720,"d":"19,720 Kč"}]
["AA960116447","AA960116447","KLM FV rozdělovač Push, 2-8 l/m, 17 okr","ks",{"v":8.9,"d":"8.900"},"1,07x0,107x0,15","1 ks",17.1735,{"v":20830,"d":"20,830 Kč"}]
["AA960116448","AA960116448","KLM FV rozdělovač Push, 2-8 l/m, 18 okr","ks",{"v":9.4,"d":"9.400"},"1,13x0,107x0,15","1 ks",18.136499999999998,{"v":21940,"d":"21,940 Kč"}]
["AA960116449","AA960116449","KLM FV rozdělovač Push, 2-8 l/m, 19 okr","ks",{"v":9.9,"d":"9.900"},"1,19x0,107x0,15","1 ks",19.0995,{"v":23050,"d":"23,050 Kč"}]
["AA960116450","AA960116450","KLM FV rozdělovač Push, 2-8 l/m, 20 okr","ks",{"v":10.3,"d":"10.300"},"1,25x0,107x0,15","1 ks",20.0625,{"v":24160,"d":"24,160 Kč"}]
["AA960117110","AA960117110","KLM FV kulový ventil pro rozdělovače 1-6/4\"","ks",{"v":0.3,"d":"0.300"},"0,13x0,18x0,05","2 ks",0.585,{"v":285,"d":"285 Kč"}]
["AA960130110","AA960130110","PERT blu FV COOLING 16x2 mm, l=3 m","m",0.092,"0,14x0,14x3","180 m",0.32666599999999996,{"v":32,"d":"32 Kč"}]
["AA960138120","AA960138120","PB blu FV COOLING 8x1 mm ",null,0.022,null,"600 m",0.166,{"v":17,"d":"17 Kč"}]
["AA960130310","AA960130310","KLM FV chladící deska CoolPLATE 625x1000mm","ks",{"$f":"0.625*10.88","v":{"v":6.800000000000001,"d":"6.800"}},"0,625x1,2x0,013","1 ks",8.75,{"v":1200,"d":"1,200 Kč"}]
["AA960130320","AA960130320","KLM FV chladící deska CoolPLATE 625x2000mm","ks",{"$f":"0.625*2*10.88","v":{"v":13.600000000000001,"d":"13.600"}},"0,625x2,2x0,013","1 ks",17.5,{"v":2400,"d":"2,400 Kč"}]
["AA960130330","AA960130330","KLM FV chladící deska CoolPLATE 1250x1000mm","ks",{"$f":"1.25*1*10.88","v":{"v":13.600000000000001,"d":"13.600"}},"1,25x1,2x0,013","1 ks",17.5,{"v":2400,"d":"2,400 Kč"}]
["AA960130340","AA960130340","KLM FV chladící deska CoolPLATE 1250x2000mm","ks",{"$f":"1.25*2*10.8","v":{"v":27,"d":"27.000"}},"1,25x2,2x0,013","1 ks",35,{"v":4800,"d":"4,800 Kč"}]
["AA960134110","AA960134110","KLM FV T-přechodová rychlospojka 16-8-8-16","ks",0.066,"0,30x0,20x0,03","10 ks",0.18000000000000002,{"v":256,"d":"256 Kč"}]
["AA960134120","AA960134120","KLM FV T-přechodová rychlospojka 16-8-8","ks",{"v":0.05,"d":"0.050"},"0,30x0,20x0,03","10 ks",0.18000000000000002,{"v":228,"d":"228 Kč"}]
["AA960134130","AA960134130","KLM FV T-přechodová rychlospojka 16-8-16","ks",0.055,"0,30x0,20x0,03","10 ks",0.18000000000000002,{"v":195,"d":"195 Kč"}]
["AA960134210","AA960134210","KLM FV přímá rychlospojka 8-8","ks",0.015,"0,17x0,2x0,015","10 ks",0.051,{"v":90,"d":"90 Kč"}]
["AA960134220","AA960134220","KLM FV přímá rychlospojka 16-16","ks",0.038,"0,2x0,2x0,03","10 ks",0.12000000000000001,{"v":108,"d":"108 Kč"}]
["AA960134310","AA960134310","KLM FV koleno rychlospojka 8-8","ks",0.066,"0,17x0,2x0,015","10 ks",0.051,{"v":90,"d":"90 Kč"}]
["AA960134320","AA960134320","KLM FV koleno rychlospojka 16-16","ks",0.045,"0,2x0,2x0,03","10 ks",0.12000000000000001,{"v":114,"d":"114 Kč"}]
["AA960134510","AA960134510","KLM FV přechod 16-1/2\"","ks",0.045,"0,1x0,1x0,04","10 ks",0.04,{"v":159,"d":"159 Kč"}]
["AA960134511","AA960134511","KLM FV přechod 8-1/4\"","ks",0.034,"0,1x0,14x0,025","10 ks",0.034999999999999996,{"v":112,"d":"112 Kč"}]
["AA960134512","AA960134512","KLM FV přechod 8-1/2\"","ks",0.014,"0,1x0,14x0,02","10 ks",0.028,{"v":129,"d":"129 Kč"}]
["AA960134610","AA960134610","KLM FV zátka 8","ks",{"v":1E-3,"d":"0.001"},"0,15x0,09x0,01","10 ks",0.0135,{"v":17,"d":"17 Kč"}]
["AA960134620","AA960134620","KLM FV zátka 16","ks",0.008,"0,15x0,09x0,015","10 ks",0.02025,{"v":38,"d":"38 Kč"}]
["AA960134710","AA960134710","KLM FV vyztuž. pouzdro pro trubku 8x1 mm","ks",{"v":1E-3,"d":"0.001"},"0,13x0,18x0,05","10 ks",0.01,{"v":6,"d":"6 Kč"}]
["AA960134720","AA960134720","KLM FV vyztuž. pouzdro pro trubku 16x2 mm","ks",0.004,"0,15x0,22x0,05","10 ks",0.06,{"v":14,"d":"14 Kč"}]
["AA960138120","AA960138120","PB blu FV COOLING 8x1 mm","m",{"v":0.02154,"d":"0.022"},"0,18x0,82x0,82","600 m",0.20172,{"v":17,"d":"17 Kč"}]
["AA960139120","AA960139120","KLM FV termopohon pro rozdělovače FV NC-24V","ks",0.146,"0,07x0,08x0,065","1 ks",0.36400000000000005,{"v":760,"d":"760 Kč"}]
["AA960139315","AA960139315","KLM FV prostorový termostat chlaz./vyt.","ks",{"v":0.11,"d":"0.110"},"0,085x0,085x0,045","1 ks",0.32512500000000005,{"v":3970,"d":"3,970 Kč"}]
["AA960139410","AA960139410","KLM FV čidlo rosného bodu","ks",0.165,"0,11x0,095x0,065","1 ks",0.67925,{"v":1350,"d":"1,350 Kč"}]
["AA960139420","AA960139420","KLM FV čidlo rosného bodu pro dutý strop","ks",{"v":0.25,"d":"0.250"},"0,11x0,095x0,065/tyč 0,57x0,2x0,03","1 ks",2.1,{"v":1450,"d":"1,450 Kč"}]
["AA960139510","AA960139510","KLM FV konvertor rosného bodu","ks",0.077,"0,18x0,13x0,02","1 ks",0.468,{"v":2455,"d":"2,455 Kč"}]
["AA918000000","AA918000000","FV THERM Elektronický rozvaděč","ks",{"v":0.4,"d":"0.400"},"0,33x0,15x0,075","1 ks",3,{"v":1923.6,"d":"1,924 Kč"}]
["AA960730050","AA960730050","KLM CoolFLEX plná SDK 500 x 490mm","ks",{"v":0.26,"d":"0.260"},"individuálně dle objed. ks","1 ks",3.185,{"v":382,"d":"382 Kč"}]
["AA960730075","AA960730075","KLM CoolFLEX plná SDK 750 x 490mm","ks",0.397,"individuálně dle objed. ks","1 ks",4.777,{"v":573,"d":"573 Kč"}]
["AA960730100","AA960730100","KLM CoolFLEX plná SDK 1000 x 490mm","ks",0.529,"individuálně dle objed. ks","1 ks",{"$f":"0.49*13","v":{"v":6.37,"d":"6.370"}},{"v":764,"d":"764 Kč"}]
["AA960730125","AA960730125","KLM CoolFLEX plná SDK 1250 x 490mm","ks",0.662,"individuálně dle objed. ks","1 ks",{"$f":"1.25*0.49*13","v":{"v":7.9625,"d":"7.963"}},{"v":956,"d":"956 Kč"}]
["AA960730150","AA960730150","KLM CoolFLEX plná SDK 1500 x 490mm","ks",0.794,"individuálně dle objed. ks","1 ks",{"$f":"1.5*0.49*13","v":9.555},{"v":1147,"d":"1,147 Kč"}]
["AA960730175","AA960730175","KLM CoolFLEX plná SDK 1750 x 490mm","ks",0.926,"individuálně dle objed. ks","1 ks",{"$f":"1.75*0.49*13","v":{"v":11.147499999999999,"d":"11.148"}},{"v":1338,"d":"1,338 Kč"}]
["AA960730200","AA960730200","KLM CoolFLEX plná SDK 2000 x 490mm","ks",1.058,"individuálně dle objed. ks","1 ks",{"$f":"2*0.49*13","v":{"v":12.74,"d":"12.740"}},{"v":1529,"d":"1,529 Kč"}]
["AA960730225","AA960730225","KLM CoolFLEX plná SDK 2250 x 490mm","ks",{"v":1.19,"d":"1.190"},"individuálně dle objed. ks","1 ks",{"$f":"2.25*0.49*13","v":{"v":14.3325,"d":"14.333"}},{"v":1720,"d":"1,720 Kč"}]
["AA960730250","AA960730250","KLM CoolFLEX plná SDK 2500 x 490mm","ks",1.323,"individuálně dle objed. ks","1 ks",{"$f":"2.5*0.49*13","v":15.925},{"v":1911,"d":"1,911 Kč"}]
["AA960730275","AA960730275","KLM CoolFLEX plná SDK 2750 x 490mm","ks",1.455,"individuálně dle objed. ks","1 ks",{"$f":"2.75*0.49","v":{"v":1.3475,"d":"1.348"}},{"v":2102,"d":"2,102 Kč"}]
["AA960730300","AA960730300","KLM CoolFLEX plná SDK 3000 x 490mm","ks",1.588,"individuálně dle objed. ks","1 ks",{"$f":"3*0.49*13","v":{"v":19.11,"d":"19.110"}},{"v":2293,"d":"2,293 Kč"}]
["AA960730325","AA960730325","KLM CoolFLEX plná SDK 3250 x 490mm","ks",{"v":1.72,"d":"1.720"},"individuálně dle objed. ks","1 ks",{"$f":"3.25*0.49*13","v":{"v":20.7025,"d":"20.703"}},{"v":2484,"d":"2,484 Kč"}]
["AA960733075","AA960733075","KLM CoolFLEX plná SDK 750 x 410mm","ks",{"v":0.33,"d":"0.330"},"individuálně dle objed. ks","1 pcs",3.965,{"v":479.7,"d":"480 Kč"}]
["AA960733100","AA960733100","KLM CoolFLEX plná SDK 1000 x 410mm","ks",0.439,"individuálně dle objed. ks","1 pcs",5.287,{"v":639.6,"d":"640 Kč"}]
["AA960733150","AA960733150","KLM CoolFLEX plná SDK 1500 x 410mm","ks",0.549,"individuálně dle objed. ks","1 pcs",6.609,{"v":959.4,"d":"959 Kč"}]
["AA960733175","AA960733175","KLM CoolFLEX plná SDK 1750 x 410mm","ks",0.659,"individuálně dle objed. ks","1 pcs",7.931,{"v":1119.3,"d":"1,119 Kč"}]
["AA960733225","AA960733225","KLM CoolFLEX plná SDK 2250 x 410mm","ks",0.769,"individuálně dle objed. ks","1 pcs",9.252,{"v":1439.1,"d":"1,439 Kč"}]
["AA960752060","AA960752060","KLM CoolFLEX  plná kaz. polep 260x600 mm   ","ks",0.878,"individuálně dle objed. ks","1 pcs",10.574,{"v":235.25,"d":"235 Kč"}]
["AA960756060","AA960756060","KLM CoolFLEX  plná kaz. polep 580x600 mm   ","ks",0.988,"individuálně dle objed. ks","1 pcs",11.896,{"v":524.78,"d":"525 Kč"}]
["AA960991120","AA960991120","KLM FV silikonový tuk na O-kroužky 70 g","ks",0.075,"0,135x0,05x0,03","1 pcs",{"v":0.2025,"d":"0.203"},{"v":290,"d":"290 Kč"}]